## Data
Consent ID | Old Consent ID | Consent Holder | Status | Commencement Date | Expiry Date | Primary Purpose | Secondary Purpose | Primary Industry | Secondary Industry | Description | Number of Take Points | Catchment | Max Rate (l/s) | Method | Max Weekly (m3/week) | Method | Max 28 days (m3/28days) | Method | Max Annual (m3/year) | Method | 2010-2011 | 2011-2012 | 2012-2013 | 2013-2014 | 2014-2015 | 2015-2016 | 2016-2017 | 2017-2018 | 2018-2019 | 2019-2020 | 2020-2021 | 2021-2022 | 2022-2023 | 2023-2024 | 2024-2025 | Maximum Recorded Use | % of Consented Volume
AUTH-132156-01 | WP181800T | Hastings District Council | Current | 2025-11-04 | 2055-05-31 | Water Supply - Potable | Water Supply - Domestic | Government | Public Water Supply | to take and use water from the wells listed in Appendix 1 for public water supply and aquifer testing | 17 | Karamu | 1244 | Consented |  | Estimated |  | Estimated | 18027400 | Consented | 2206293.7 | 2501427.3 | 3176273.2 | 3423852 | 12271321.8 | 11100308.4 | 13548336.6 | 13195906.4 | 13891555.6 | 14371356 | 14884979.2 | 15084573.3 | 15663537 | 11727466.3 | 2394936.1 | 15663537 | 86.89%
AUTH-116128-04 | WP060658Tc | Napier City Council | Current | 2022-03-03 | 2027-05-31 | Water Supply - Potable |  | Government | Public Water Supply | to take water from 10 wells as shown in Table 1 below for the purpose of Napier City public water supply | 10 | Ahuriri | 784 | Consented | 387744 | Consented | 1550976 | Estimated | 15509760 | Estimated | 9103779.6 | 8648532.5 | 9834980.1 | 9675460.1 | 9606177.2 | 9392367.7 | 9678784.4 | 10674974.9 | 10327389.7 | 9408953 | 9298572 | 7949747 | 8159509.3 | 10108663.8 | 9978460 | 10674974.9 | 68.83%
AUTH-119930-02 | WP110501Ta | Heinz Wattie's Limited | Expired - S.124 Protection | 2013-11-11 | 2023-05-31 | Water Supply - Industry |  | Fruit/Vegetable Processing |  | to take and use water from well no. 2418, no. 1254, and no. 943 (300 mm diameter), well no. 1496, no. 2451, no. 5329 and no. 15241 (200 mm diameter) and no. 15157 (150 mm diameter) in a food processing operation | 8 | Karamu | 588 | Consented | 261200 | Consented | 1044800 | Estimated | 6152652 | Consented |  |  | 2367474.9 | 3361388.3 | 3161814.2 | 3094614 | 2657635.5 | 3220016.8 | 3707095.2 | 3031371 | 3754153.5 | 2745667.1 | 2249334.4 | 2300243 | 2594250 | 3754153.5 | 61.02%
AUTH-114460-03 | WP040508Tb | Lineage Logistics New Zealand | Expired - S.124 Protection | 2019-09-16 | 2025-05-31 | Water Supply - Industry |  | Coolstores |  | to take and use water from 14 wells for use in coolstore and refrigeration operations and for general staff amenities | 14 | Karamu | 110.5 | Consented | 63300 | Consented | 253200 | Estimated | 3291600 | Estimated | 2178112.2 | 2178011.7 | 2252525.7 | 2627233.6 | 1136517.6 | 1516506.1 | 1581886.9 | 2239616.6 | 2116615 | 1836777.7 | 1091694 | 1388899 | 1548134 | 1575205 | 1375061.8 | 2627233.6 | 79.82%
AUTH-116264-03 | WP070049Ta | Woolworks New Zealand Limited | Current | 2024-09-26 | 2027-05-31 | Water Supply - Industry |  | Wool Processing |  | to take water from well no. 1722 (300 mm diameter) and well no. 17243 (300 mm diameter) for use in the processing of wool | 2 | Ahuriri | 104 | Consented | 62900 | Consented | 251600 | Estimated | 3270800 | Estimated | 1143984 | 1150434.2 | 1175810.6 | 983570.1 | 1026799.6 | 1068425.6 | 951096.1 | 1118953.2 | 1229518.9 | 944136.4 | 1148304.7 | 1139432.8 | 704689.5 | 498881.5 | 351490.8 | 1229518.9 | 37.59%
AUTH-121407-09 | WP140429Th | Twyford Co-Operative Company Limited | Expired - S.124 Protection | 2024-01-25 | 2025-05-31 | Water Supply - Irrigation |  | Orchard |  | To take and use ground water from the semi-confined zone of Twyford and surface water from the Raupare Stream and its tributaries for irrigation and spray fill purposes, and to take and use ground water from the semi-confined zone of Twyford to augment the Raupare Stream (Twyford-Raupare global consent) | 65 | Karamu | 1487.6 | Consented | 181506.5 | Estimated | 726026 | Consented | 2872735 | Consented | [5 empty] | 35286.3 | 923838.1 | 738645.2 | 550746.3 | 1132635 | 1322422.2 | 886877.7 | 161956.6 | 689096.8 | 1083277.4 | 1322422.2 | 46.03%
AUTH-111087-01 | WP000444T | Lineage Logistics New Zealand | Expired - S.124 Protection | 2001-02-23 | 2025-05-31 | Water Supply - Cooling Water |  | Coolstores |  | to take water from well no. 3816 (150 mm diameter) (Site No 34) for use in a freezer complex | 1 | Karamu | 110 | Consented | 55000 | Consented | 220000 | Estimated | 2860000 | Estimated | 1509566.4 | 1543933.6 | 1539272.9 | 1467612.1 | 1442274.5 | 1451921.5 | 1597210.4 | 1509781 | 1485778.1 | 1395193.5 | 1305903.1 | 1219177.8 | 1192669.4 | 1119797 | 1151621.5 | 1597210.4 | 55.85%
AUTH-119932-01 | WP110502T | Heinz Wattie's Limited | Expired - S.124 Protection | 2012-11-14 | 2023-05-31 | Water Supply - Industry |  | Fruit/Vegetable Processing |  | to take and use water from well no. 665 & no. 848 (200 mm diameter) and well no. 886 (250 mm diameter) for use in a food processing operation | 3 | Karamu | 289 | Consented | 70000 | Consented | 280000 | Estimated | 2756034 | Consented |  |  | 449662.5 | 903382.9 | 778162.5 | 778946.5 | 854241.5 | 890561.5 | 999109 | 1169907.6 | 730321.4 | 815264 | 817984.5 | 732046.5 | 742291 | 1169907.6 | 42.45%
AUTH-114546-02 | WP050007Ta | Silver Fern Farms Limited | Expired - S.124 Protection | 2021-11-09 | 2025-05-31 | Water Supply - Industry |  | Animal Processing |  | to take and use water from well no. 17220 (150 mm diameter) and well no. 4596 (200 mm diameter) for the purpose of providing water for general use in a freezing works operation including processing livestock | 2 | Karamu | 75 | Consented | 45000 | Consented | 180000 | Estimated | 2340000 | Estimated | 2520614.3 | 1924461.3 | 2011325.6 | 2037260.4 | 1987353.8 | 1990389.7 | 1792276.4 | 1955136.7 | 1870873.3 | 1889774.7 | 1868232.2 | 1877416.7 | 1587018.1 | 1484679.4 | 1406508.7 | 2520614.3 | 107.7%
AUTH-109925-01 | WP990008T | McCain Foods (NZ) Limited | Expired - S.124 Protection | 1999-06-25 | 2019-05-31 | Water Supply - Industry |  | Fruit/Vegetable Processing |  | to take water from well no. 1164 and well no. 3878 (200 mm diameters) for processing horticultural produce | 2 | Karamu | 53 | Consented | 32116 | Consented | 128464 | Estimated | 1670032 | Estimated | 350140 | 338457.3 | 274617.9 | 340384.6 | 334081.7 | 292761 | 287354.8 | 283064.9 | 295115.5 | 331205.9 | 336054 | 339545.1 | 210897 | 380625.2 | 424282.8 | 424282.8 | 25.41%
AUTH-114441-02 | WP040494Ta | Woolworks New Zealand Limited | Expired - S.124 Protection | 2018-10-10 | 2025-05-31 | Water Supply - Industry |  | Wool Processing |  | to take and use water from well nos. 15236 (100 mm diameter), 1175 and 15238 (150 mm diameter) for use in a wool scouring operation | 3 | Karamu | 45 | Consented | 27216 | Consented | 108864 | Estimated | 1415232 | Estimated | 50823.5 | 12440.5 | 33858.5 | 47622.6 | 1925.1 | 2034.9 | 2652.2 | 209015.3 | 317922.7 | 273583 | 241038 | 189891.6 | 203217.9 | 445348.5 | 41246 | 445348.5 | 31.47%
AUTH-120304-01 | WP120291T | Turamoe Trust | Expired - S.124 Protection | 2013-09-06 | 2023-05-31 | Water Supply - Irrigation |  | Agriculture - Cropping |  | to take and use water from well no. 5678 (300 mm diameter) and well no. 605 (200 mm diameter) to irrigate 164 hectares of process crops, crops and pasture | 2 | Karamu | 133 | Consented | 47091 | Consented | 188364 | Estimated | 1318548 | Consented |  |  |  | 518127.7 | 578232.1 | 660659.5 | 500732 | 442535.7 | 317892.3 | 693864.7 | 594676.5 | 380487.3 | 75032.4 | 347135.1 | 473556.2 | 693864.7 | 52.62%
AUTH-120793-01 | WP130287T | Sleeping Giant Holdings Limited | Current | 2013-10-03 | 2027-05-31 | Water Supply - Potable - Bottling |  | Water/Beverage Bottling |  | to take and use water from well no. 15391 (200 mm diameter) for the purpose of water bottling | 1 | Ahuriri | 50 | Consented | 22681 | Consented | 90724 | Estimated | 1179412 | Consented | 2017-2018: 0; 2018-2019: 2577; 2019-2020: 5650; 2020-2021: 14417; 2021-2022: 17444.1; 2022-2023: 0.7 | 17444.1 | 1.479%
AUTH-114866-03 | WP050247Tb | Hastings District Council | Expired - S.124 Protection | 2022-12-01 | 2025-05-31 | Water Supply - Potable | Water Supply - Industry | Government |  | To take water from Well No. 744 (100 mm diameter) and Well No’s 3399 and 17106 (150 mm diameter) for the purpose of domestic use within the adjoining Council house, pump station and general use within the property legally defined as Section 1, SO 9436. | 4 | Karamu | 47.5 | Consented | 28708 | Consented | 114832 | Estimated | 1148320 | Estimated | 394022.2 | 479746.1 | 510991.9 | 371894.5 | 388319.8 | 419582.7 | 401352 | 445652 | 490188.1 | 555231.4 | 542099.1 | 695783.4 | 217735.1 | 328694 | 594888.6 | 695783.4 | 60.59%
AUTH-121324-02 | WP140347Ta | Apatu Farms Limited | Expired - S.124 Protection | 2017-02-10 | 2025-05-31 | Water Supply - Irrigation | Water Supply - Frost Protection | Agriculture - Cropping |  | to take and use water from the Waitio Stream and an unnamed tributary of the Waitio Stream, and via well no. 3157 (200 mm diameter) adjacent to the Waitio Stream and from well no’s. 979 & 4855 (150 mm diameters), from the Ngaruroro River directly, and from a pond adjacent to the Ngaruroro River to fill an ‘off stream’ lined water storage reservoir, to irrigate and frost protect 40 hectares of viticulture and to irrigate 248 hectares of crops and pasture and for stock water supply and spray filling purposes. | 9 | Ngaruroro | 149 | Consented | 52085.2961 | Estimated | 208341.1842 | Estimated | 1122399 | Consented | [6 empty] | 240498.3 | 345549.2 | 214888 | 304354.8 | 355089.1 | 204157 | 66174.3 | 281652.3 | 260384.5 | 355089.1 | 31.64%
AUTH-119919-05 | WP110491Td | Graeme Lowe Tannery Limited | Expired - S.124 Protection | 2022-07-27 | 2023-05-31 | Water Supply - Industry |  | Tannery/Fellmongery |  | to take and use water from well no. 4376 (100 mm diameter) and from two coupled together wells, being well no’s 15629 (100 mm diameter) and 15908 (150 mm diameter), to use in a tannery/hide processing plant, fellmongery, wool scouring and slipe wool processing plant. | 3 | Karamu | 80 | Consented | 26491.25 | Estimated | 105965 | Consented | 1116200 | Consented |  |  | 48762.4 | 237129.9 | 274947.1 | 254855.8 | 272784 | 311694.1 | 359804.5 | 404686.4 | 378065.7 | 270738.5 | 461321 | 433347.1 | 326416.1 | 461321 | 41.33%
AUTH-126412-01 | WP180796T | Hawke's Bay Regional Council | Expired - S.124 Protection | 2020-10-19 | 2023-05-31 | Augmentation / Recharge | Environmental Improvement | Government | Recreational | Interim consent to take water from well nos. 5076 (100 mm diameter) and 16720 (125 mm diameter) to supply an artificial wetland | 2 | Ahuriri | 30 | Consented | 18144 | Consented | 72576 | Estimated | 946080 | Consented | 2020-2021: 245359.1; 2021-2022: 533604.4; 2022-2023: 443448.8; 2023-2024: 387059.4; 2024-2025: 663539.8 | 663539.8 | 70.14%
AUTH-119608-02 | WP110199Ta | Cedenco Foods New Zealand Limited | Expired - S.124 Protection | 2014-03-04 | 2023-05-31 | Water Supply - Industry |  | Fruit/Vegetable Processing |  | to take water from well no. 1974 (300 mm diameter) and well no. 15862 (150 mm diameter) to use for juice processing operations | 2 | Karamu | 57 | Consented | 26000 | Consented | 104000 | Estimated | 900000 | Consented |  |  | 390931.5 | 599577.1 | 476319.8 | 479699.9 | 397378.6 | 261527.7 | 322240.1 | 357788.7 | 426531.8 | 387106.6 | 569471.6 | 550433.5 | 551434.2 | 599577.1 | 66.62%
AUTH-122026-02 | WP160049Ta | Progressive Leathers Limited | Expired - S.124 Protection | 2022-07-27 | 2025-05-31 | Water Supply - Industry |  | Tannery/Fellmongery |  | To take and use water from well no. 16098 (150 mm diameter) for use in skin, hide and pelt processing, fellmongery and slipe wool processing. | 1 | Karamu | 45 | Consented | 16550 | Consented | 66200 | Estimated | 823810 | Consented | [5 empty] | 35199.2 | 240323.1 | 253086 | 241954.8 | 202317.3 | 184659.5 | 184455 | 215655.2 | 210111.8 | 197981.2 | 253086 | 30.72%
AUTH-120776-04 | WP130273Tc | New Zealand Miracle Water Limited | Expired - S.124 Protection | 2015-12-17 | 2023-05-31 | Water Supply - Potable - Bottling | Water Supply - Industry | Water/Beverage Bottling |  | to take and use water from well no. 16299 (300 mm diameter) for the purpose of water bottling and supply for staff facilities | 1 | Karamu | 40 | Consented | 15768 | Consented | 63072 | Estimated | 820000 | Consented | [5 empty] | 17543.8 | 28524 | 29989 | 40419 | 41142 | 57686 | 77073 | 129383 | 168575 | 147289.7 | 168575 | 20.56%
AUTH-115985-03 | WP060555Tb | Napier Water Limited | Current | 2016-07-20 | 2027-05-31 | Water Supply - Potable - Bottling |  | Water/Beverage Bottling |  | to take and use water from well no. 595 (100 mm diameter) for water bottling | 1 | Ahuriri | 30 | Consented | 18000 | Consented | 72000 | Estimated | 786240 | Consented | 85.4 | 85.7 | 17.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 85.7 | 0.0109%
AUTH-116351-01 | WP070124T | Hawkes Bay Protein Limited | Current | 2007-06-01 | 2027-05-31 | Water Supply - Industry |  | Rendering |  | To take water from well no. 5606 (100 mm diameter) to provide water for use in an animal and fish rendering plant | 1 | Ahuriri | 25 | Consented | 15000 | Consented | 60000 | Estimated | 780000 | Estimated | 120581.3 | 170001.3 | 137297.6 | 113537.2 | 143628 | 131123.3 | 127238.4 | 128106.5 | 152641.3 | 160401.4 | 170558.6 | 158086.8 | 117036.7 | 152797.4 | 29104.3 | 170558.6 | 21.87%
AUTH-124354-01 | WP180625T | Focusmapping Limited | Expired - S.124 Protection | 2019-09-16 | 2025-05-31 | Water Supply - Industry |  | Animal Processing |  | To take and use water from well no. 4906 (100 mm diameter) for use in cool store operations, casing processing, pet food processing, livestock and pelt processing factories and staff facilities | 1 | Karamu | 30 | Consented | 14000 | Consented | 56000 | Estimated | 728000 | Consented | 2018-2019: 3201; 2019-2020: 151342.7; 2020-2021: 175235.4; 2021-2022: 112984.9; 2022-2023: 80239; 2023-2024: 65842.5; 2024-2025: 42942.9 | 175235.4 | 24.07%
AUTH-112980-03 | WP030118Tb | P C and C L Raikes Partnership | Expired - S.124 Protection | 2016-11-16 | 2023-05-31 | Water Supply - Irrigation |  | Agriculture - Cropping |  | to take and use water from Well No.’s 5867 (300 mm diameter) 2405 and 2260 (200 mm diameters) to irrigate 185 hectares of pasture, cereal and process crops | 3 | Karamu | 105 | Consented | 51000 | Consented | 204000 | Estimated | 720000 | Consented | 97948 | 86480.4 | 629033.5 | 393792.4 | 528348.1 | -544230.2 | 306530 | 401123.2 | 321409.2 | 656653.8 | 506171.5 | 356727.3 | 33442.5 | 432959.4 | 487153.9 | 656653.8 | 91.2%
AUTH-117874-01 | WP090031T | Hawke's Bay Regional Council | Current | 2012-06-18 | 2027-05-31 | Augmentation / Recharge |  | Government |  | to take and use water from well no. 15918 (100 mm diameter) to supplement flows in the Harakeke Waterway. | 1 | Ahuriri | 22 | Consented | 13306 | Consented | 53224 | Estimated | 691912 | Consented |  | 21 | 339507 | 288318 | 136573 | 19673 | 0 | 73.2 | 821.5 | 570.3 | 0 | 0 | 0 | 0 | 29078.8 | 339507 | 49.07%
AUTH-127885-01 | WP181041T | Ravensdown Limited | Current | 2022-12-19 | 2057-12-19 | Water Supply - Industry |  | Manufacturing/Chemical Industry |  | to take water from well no’s. 15986 and 15989 (150 mm diameters) for the following industrial uses and environmental purposes: • The manufacture of sulphuric acid and fertilisers; • The treatment of stormwater and process water including sustaining constructed treatment wetlands and the maintenance of crop cover on the discharge to land area (shown on the Plan B); and • Sustain an artificial freshwater wetland within the Waitangi Regional Park (shown on the Plan D). | 2 | Ahuriri | 80 | Consented | 13477 | Consented | 53908 | Estimated | 666455 | Consented | 2022-2023: 4005; 2023-2024: 291290; 2024-2025: 231278 | 291290 | 43.71%
AUTH-115388-03 | WP060072Tb | CFP Apples HB Limited | Current | 2015-06-12 | 2026-05-31 | Water Supply - Irrigation | Water Supply - Multiple Uses | Orchard | Fruit/Vegetable Packhouse | To take and use water from well no. 1067 (100 mm diameter), well no. 3704 (200 mm diameter), well no. 523 (100 mm diameter) and well no. 15886 (100 mm diameter) to irrigate 58.5 hectares of orchard, to provide water to a packhouse and to supply spray fill water | 4 | Ngaruroro | 42.4 | Consented | 16045 | Consented | 64180 | Estimated | 658295 | Consented |  | 2242.4 | 66619.9 | 55799.7 | 127082 | 117860 | 105086 | 111829 | 63644 | 146272 | 169961 | 105857 | 879.4 | 27095.9 | 77018.8 | 169961 | 25.82%
AUTH-121659-01 | WP150036T | Tirohia Farm Limited | Expired - S.124 Protection | 2016-10-19 | 2025-05-31 | Water Supply - Irrigation | Water Supply - Sprayfill | Agriculture - Cropping |  | to take and use water from well no. 5056 (300 mm diameters) adjacent to the Ngaruroro River to irrigate 114 hectares of crops and pasture and for spray fill, domestic supply and stock drinking water purposes | 1 | Ngaruroro | 55 | Consented | 29479.2105 | Estimated | 117916.8421 | Estimated | 632322 | Consented | [6 empty] | 48855.4 | 341068 | 93576 | 365709 | 307246 | 221523 | 23898 | 211785 | 252915 | 365709 | 57.84%
AUTH-120376-03 | WP120343Tb | Moffett Orchards Limited | Current | 2022-09-27 | 2026-05-31 | Water Supply - Irrigation | Water Supply - Multiple Uses | Orchard | Fruit/Vegetable Packhouse | to take and use water from the Moteo, Jamieson, Smiley and Roadside (Swamp Road) Drains, and the Repokai Te Rotoroa Stream, being tributaries of the Tutaekuri-Waimate Stream, and to take and use water from well no’s 2716, 10278, 15132, 15140, 15503, 15306, and 16704 (100 mm diameter), and well no. 3681 (150 mm diameter) to irrigate and frost protect 126.1 hectares of horticulture, orchard, market garden, pasture and process crops, for spray filling and wash down purposes, and for use in packhouse, staff facilities, RSE accommodation, and in a workshop. | 58 | Ngaruroro | 173 | Consented | 39185 | Consented | 156740 | Estimated | 624282 | Consented |  |  | 78389.6 | 22998.5 | 53362.7 | 48932.1 | 43038.6 | 30014.5 | 20461.5 | 37339 | 60105.7 | 37976.3 | 2474.9 | 33.5 | 16043.2 | 78389.6 | 12.56%
AUTH-115800-04 | WP060405Tc | Apatu Farms Limited | Current | 2012-12-03 | 2023-05-31 | Water Supply - Irrigation | Water Supply - Sprayfill | Agriculture - Cropping |  | to take and use water from well no. 5704 (250mm diameter) and well no. 1281 (100 mm diameter) to irrigate 95 hectares of crops and horticulture, and for spray filling | 2 | Karamu | 90 | Consented | 34158 | Consented | 136632 | Estimated | 607525 | Consented | 324574.1 | 64372.1 | 426027.6 | 356166.4 | 396481.9 | 413618.7 | 304100.5 | 276697.1 | 207282 | 309989.4 | 327758.8 | 98144.8 | 0 | 11169.7 | 85112.6 | 426027.6 | 70.13%
AUTH-120365-01 | WP120335T | J M and G A Lyons Partnership | Expired - S.124 Protection | 2013-09-06 | 2023-05-31 | Water Supply - Irrigation |  | Agriculture - Cropping |  | to take and use water from well no. 5621 (300 mm diameter) and well no. 4195 (200 mm diameter) to irrigate 98.4 hectares of process crops | 2 | Karamu | 70 | Consented | 38290 | Consented | 153160 | Estimated | 580068 | Consented |  |  |  | 5995 | 24003.9 | 157528 | 324899.3 | 189415.2 | 149989 | 241205.4 | 144351.1 | 75831.2 | 48.3 | 208827.8 | 84370.9 | 324899.3 | 56.01%
AUTH-124374-01 | WP180634T | Hastings District Council | Current | 2019-10-10 | 2047-05-31 | Water Supply - Potable | Water Supply - Domestic | Government | Public Water Supply | to take and use water from well no’s 16889, 1187 (200 mm diameter), 15176 (100 mm diameter) and 5830 (150 mm diameter) to supply potable water to the Haumoana, Te Awanga and Parkhill areas | 4 | Tukituki | 50 | Consented | 20000 | Consented | 80000 | Consented | 550000 | Consented | 2020-2021: 343623.6; 2021-2022: 580686; 2022-2023: 490795; 2023-2024: 591799; 2024-2025: 493558 | 591799 | 107.6%
AUTH-119429-03 | WP110032Tb | Kauri Forestry Limited Partnership | Expired - S.124 Protection | 2020-01-29 | 2025-05-31 | Water Supply - Irrigation | Water Supply - Sprayfill | Orchard |  | To take and use water from well no’s 15217, 2098, 949, 5583, 658 (100 mm diameters) and 16953 (150 mm diameter) to irrigate 111 hectares of pip fruit within the area shaded on the site map below, and for ancillary horticultural uses including spray filling | 7 | Karamu | 124 | Consented | 31000 | Consented | 124000 | Estimated | 532800 | Consented | 48205.5 | 244252.5 | 218276.4 | 82714.6 | 158246.4 | 210101.2 | 196623.5 | 110799.4 | 184184 | 340675 | 284864.3 | 182325.9 | 43348.2 | 97051.5 | 139925.9 | 340675 | 63.94%
AUTH-117731-04 | WP080406Tb | Joan Fernie Charitable Trust Board | Current | 2025-05-26 | 2026-05-31 | Water Supply - Irrigation |  | Agriculture - Cropping |  | To take and use water from well no. 5906 (150 mm diameter) and well no. 15988 (150 mm diameter) to irrigate 160 hectares of process crops. | 2 | Ngaruroro | 100 | Consented | 34353.5 | Estimated | 137414 | Consented | 528680 | Consented | 30601 | 28175 | 16390 | 6384 | 20861 | 26158 | 29656 | 0 | 21178 | 0 | 0 | 12045.4 | 0.7 | 0.7 | 1112.3 | 30601 | 5.788%
AUTH-117387-02 | WP080290Ta | Trevettes Orchard Limited | Current | 2013-07-22 | 2027-05-31 | Water Supply - Irrigation | Water Supply - Multiple Uses | Agriculture - Cropping |  | to take and use water from well no. 2880, well no. 4738, and well no. 15392 (100 mm diameters) to irrigate up to 89.3 hectares of process crops and to take and use water from well no. 16083 (100mm diameter) to supply water for spray fill and staff facilities | 4 | Ahuriri | 70 | Consented | 33419 | Consented | 133676 | Estimated | 526424 | Consented | 30147 | 14372.1 | 0.8 | 6500.8 | 78067.3 | 101903 | 63284.2 | 46970.8 | 52061 | 173018 | 93147 | 39605 | 7434 | 33295.1 | 32363 | 173018 | 32.87%
AUTH-110824-02 | WP000232Ta | Vinarchy New Zealand Limited | Expired - S.124 Protection | 2018-03-14 | 2019-05-31 | Water Supply - Irrigation | Unspecified Activity | Vineyard |  | to take and use water from well no’s. 4153, 16401 (300 mm diameter) and 1225 (200 mm diameter) to irrigate 154 hectares of viticulture and for sprayfill and washdown purposes | 3 | Karamu | 82.7 | Consented | 34000 | Consented | 136000 | Estimated | 512800 | Consented |  |  | 52739.7 | 38676.6 | 35445.4 | 58072.6 | 25659.4 | 31990 | 42704 | 172497 | 177587 | 69026.6 | 21103.7 | 128379.5 | 197882.4 | 197882.4 | 38.59%
AUTH-122115-01 | WP160133T | Apatu Farms Limited | Current | 2016-07-18 | 2027-05-31 | Water Supply - Irrigation | Water Supply - Sprayfill | Agriculture - Cropping |  | to take and use water from well no.s 16469, 16470, 3024 and 3025 (100 mm diameters) to irrigate 98 hectares of process crops and supply water for spray fill purposes | 4 | Ahuriri | 112 | Consented | 35969 | Consented | 143876 | Estimated | 511182 | Consented | [6 empty] | 152651.4 | 177912.3 | 158700.6 | 166420.2 | 153916.3 | 100249.7 | 8754.6 | 32405.3 | 161345.7 | 177912.3 | 34.8%
AUTH-121906-02 | WP150296Ta | Golden Del Orchard Limited | Current | 2019-11-05 | 2026-05-31 | Water Supply - Irrigation |  | Orchard |  | to take and use water from Well’s No. 8415 (100 mm), 15785 and 16405 (150 mm diameter), 1704 and 3535 (200 mm) and 1976 and 1724 (300 mm), adjacent to the Tutaekuri-Waimate Stream, to irrigate 91.1 hectares of orchard | 7 | Ngaruroro | 126 | Consented | 29091 | Estimated | 116364 | Consented | 505613 | Consented | [5 empty] | 68770.2 | 104231.9 | 63676.4 | 18173.7 | 92756.2 | 72920.3 | 35623.8 | 4212.7 | 18043.6 | 41531.4 | 104231.9 | 20.61%
AUTH-114908-01 | WP050286T | Enzafruit New Zealand International Limited | Expired - S.124 Protection | 2005-08-31 | 2025-05-31 | Water Supply - Industry |  | Coolstores | Community Water Supply | to take water from two wells as detailed in Table 1, for general use staff amenities, washing down and cooling water | 2 | Karamu | 16 | Consented | 9660 | Consented | 38640 | Estimated | 502320 | Estimated | 20645 | 26618.7 | 21956.3 | 24795.6 | 22348.1 | 28258.6 | 20316.7 | 31050.2 | 26473.9 | 23978.4 | 24382 | 26083.4 | 22471.1 | 34867.9 | 30864.8 | 34867.9 | 6.941%
AUTH-117938-04 | WP090079Tc | Lowe Corporation Limited | Expired - S.124 Protection | 2020-05-06 | 2025-05-31 | Water Supply - Industry | Water Supply - Multiple Uses | Industrial Subdivision |  | to take water from well no. 5848 (200 mm diameter) to provide water to a “wet industrial” type activity, and for irrigation of landscaping and plantings | 1 | Karamu | 40 | Consented | 24150 | Consented | 96600 | Estimated | 500750 | Consented | 30.7 | 471.3 | 201414.1 | 63967.9 | 168499.2 | 74810.8 | 4 | 46879.6 | 92828.3 | 56127.1 | 11293 | 15 | 0 | 185 | 718 | 201414.1 | 40.22%
AUTH-127712-01 | WP181023T | Holcim (New Zealand) Limited | Expired - S.124 Protection | 2021-11-25 | 2023-05-31 | Water Supply - Industry |  | Concrete/Cement Industries |  | to take water from well no. 997, well no. 119 (100 mm diameters) and well no. 5668 (300 mm diameter) for use in metal washing, concrete manufacturing, truck washing, and staff facilities | 3 | Karamu | 95 | Consented | 9600 | Consented | 38400 | Estimated | 499200 | Estimated | 2021-2022: 176064.7; 2022-2023: 184724.2; 2023-2024: 305856.6; 2024-2025: 265189.9 | 305856.6 | 61.27%
AUTH-120657-03 | WP130163Tb | Apatu Farms Limited | Current | 2017-09-20 | 2026-05-31 | Water Supply - Irrigation | Water Supply - Frost Protection | Vineyard |  | To take and use water from well no’s 15288 (100 mm diameter) ,16516 (150 mm diameter) and 1733 (250 mm diameter) and from the Waima and Tutaekuri-Waimate Streams for irrigation and frost protection of 159 hectares of crops and viticulture, and for spray filling and wash-down purposes | 15 | Ngaruroro | 202 | Consented | 42797 | Consented | 171188 | Estimated | 488095 | Consented |  |  | 2.4 | 17415.1 | 36209.5 | 58666.5 | 36298.3 | 32770.2 | 50165.9 | 18533.4 | 67619.4 | 54704.4 | 46270.3 | 28648.3 | 107383.6 | 107383.6 | 22%
AUTH-112156-02 | WP010640Ta | R F E Limited | Expired - S.124 Protection | 2015-06-16 | 2019-05-31 | Water Supply - Industry |  | Fruit/Vegetable Processing |  | to take water from well no. 866 (150 mm diameter) for use in a fruit and vegetable processing plant | 1 | Karamu | 15 | Consented | 9072 | Consented | 36288 | Estimated | 471744 | Estimated | 9166.6 | 7266.4 | 12284.4 | 20362.4 | 32101.8 | 41818.2 | 24749.5 | 23901.5 | 17452.4 | 15302 | 25054.3 | 40626 | 27426.6 | 22389 | 21373.7 | 41818.2 | 8.865%
AUTH-110540-02 | WP990542Ta | David Phillips Limited | Expired - S.124 Protection | 2010-06-28 | 2023-05-31 | Water Supply - Agriculture | Water Supply - Irrigation | Fruit/Vegetable Processing |  | to take water from well no. 3646 (100 mm diameter) for a carrot washing operation and for irrigating 8 hectares of crops | 1 | Karamu | 15 | Consented | 9072 | Consented | 36288 | Estimated | 471744 | Estimated | 23342.2 | 6210 | 8381 | 21877 | 33325 | 8111 | 4997 | 1910 | 3405 | 22 | 0 | 16 | 720 | 0 |  | 33325 | 7.064%
AUTH-120974-03 | WP140011Tb | Bostock New Zealand Limited | Expired - S.124 Protection | 2024-08-15 | 2025-05-31 | Water Supply - Irrigation | Water Supply - Frost Protection | Orchard | Agriculture - Cropping | to take and use water from well no’s 15192, 452, 10823, 15198, 5191, 15181 (100 mm diameter) and 2058 (200 mm diameter) to irrigate and frost protect 64 hectares of pasture, process crops, horticulture, viticulture and orchards and to use for spray filling. | 7 | Karamu | 156.5 | Consented | 19786 | Estimated | 79144 | Consented | 456797 | Consented |  |  |  | 8540.5 | 75246.5 | 77658.5 | 67873.2 | 63769.6 | 67607.6 | 77333.2 | 79794.5 | 110823.1 | 32594.2 | 94153.5 | 165782.9 | 165782.9 | 36.29%
AUTH-110133-04 | WP990173Tc | Downs Apple Orchard Limited | Expired - S.124 Protection | 2017-05-09 | 2019-05-31 | Water Supply - Irrigation | Water Supply - Frost Protection | Orchard |  | to take and use water from well no 4092 (150 mm diameter), well no 4674 (200 mm diameter), well no 1943 (250 mm diameter), well no’s 3131 and 4714 (300 mm diameter) to irrigate 44.8 ha of apples, 10.4 ha of pasture & 13.9 ha of process crops, to take and use water from well no 1856 (250 mm diameter) for spray filling, to take and use water from well no’s 1943, 4674 and 3131 to frost protect 44.8 ha of apples, and to use for spray filling and as a potable water supply for an RSE seasonal camp | 6 | Karamu | 235 | Consented | 25743.25 | Consented | 102973 | Estimated | 448529 | Consented | 156641.5 | 80748.9 | 273432.2 | 188443.1 | 197966 | 224683.6 | 172824.9 | 243086.7 | 168278.7 | 283597.3 | 301714.4 | 203260.3 | 69501.6 | 213230.1 | 192668.9 | 301714.4 | 67.27%
AUTH-115809-03 | WP060411Tb | Brownrigg Agriculture Group Limited | Current | 2021-06-22 | 2026-05-31 | Water Supply - Irrigation | Water Supply - Multiple Uses | Orchard |  | to take and use water from well nos. 3553 (100 mm diameter), 2316 and 1404 (150 mm diameter) and well no. 17139 (300 mm diameter) to irrigate 76.7 hectares of process crops and orchard and for spray filling and building wash down | 4 | Tutaekuri | 124.6 | Consented | 24342 | Estimated | 97368 | Consented | 441137 | Consented | 6766 | 2457 | 34770 | 22618.6 | 31344 | 37327.1 | 56883.9 | 59922.4 | 40156.4 | 65341 | 110524.9 | 93488.8 | 38233.7 | 47096.9 | 96941.8 | 110524.9 | 25.05%
AUTH-115329-03 | WP060032Tb | Nuprop Limited | Current | 2016-11-11 | 2026-05-31 | Water Supply - Irrigation |  | Agriculture - Cropping |  | to take water from well no 2015 (150 mm in diameter) and well no. 5697 (100 mm in diameter) to irrigate 66 hectares of process crops and pasture | 2 | Ngaruroro | 50 | Consented | 26565 | Consented | 106260 | Estimated | 440880 | Consented | 231.4 | 0 | 7295 | 0 | 1537.9 | 0 | 9039.9 | 32041.6 | 24726.1 | 78208.1 | 57930.7 | 40836.2 | 1861.8 | 80593.5 | 47636.8 | 80593.5 | 18.28%
AUTH-110108-03 | WP990155Tb | Ngatarawa Farm Limited | Expired - S.124 Protection | 2014-10-02 | 2019-05-31 | Water Supply - Irrigation |  | Agriculture - Cropping |  | to take and use water from well no. 8499 (200 mm diameter), well no. 15522 (150 mm diameter) and well no. 15991 (300 mm diameter) to irrigate 74 hectares of process crops | 3 | Karamu | 42 | Consented | 25401 | Consented | 101604 | Estimated | 436230 | Consented |  |  | 102414 | 111655 | 156472.5 | 157769 | 126345 | 0 | 0 | 0 | 124301 | 143859 |  |  |  | 157769 | 36.17%
AUTH-122321-01 | WP170001T | Mount Erin Station Partnership | Current | 2017-06-27 | 2027-05-31 | Water Supply - Irrigation | Augmentation / Recharge | Agriculture - Pastoral Farming |  | to take and use water from well no. 16526 (250 mm diameter) to irrigate 55 hectares of pasture and to augment an unnamed tributary of the Louisa Stream | 1 | Karamu | 43 | Consented | 24241.25 | Consented | 96965 | Estimated | 425109 | Consented | 2017-2018: 69647; 2018-2019: 55884; 2019-2020: 197105; 2020-2021: 78490; 2021-2022: 40006; 2022-2023: 3024; 2023-2024: 20511; 2024-2025: 17047.5 | 197105 | 46.37%
AUTH-120198-02 | WP120199Ta | Mangaroa X Trust | Expired - S.124 Protection | 2014-09-24 | 2023-05-31 | Water Supply - Irrigation |  | Agriculture - Cropping |  | to take and use water from well no.15904 (300 mm diameter) to irrigate 96 hectares of process crops, pasture and horticulture (including flower bulbs) | 1 | Karamu | 80 | Consented | 27550 | Consented | 110200 | Estimated | 417366 | Consented |  |  |  |  | 99073 | 133171 | 101464 | 92542 | 56778 | 103276 | 71861 | 173512 | 20564 | 80392 | 189981 | 189981 | 45.52%
AUTH-122097-01 | WP160115T | Hamish Goodwin Trust | Current | 2016-11-11 | 2026-05-31 | Water Supply - Irrigation |  | Agriculture - Pastoral Farming |  | to take and use water from well no. 5690 (100 mm diameter) to irrigate 60 hectares of pasture | 1 | Ngaruroro | 45 | Consented | 24132.5 | Consented | 96530 | Estimated | 417220 | Consented | 2017-2018: 18822.9; 2018-2019: 31476.3; 2019-2020: 63682.9; 2020-2021: 28018.2; 2021-2022: 13004; 2022-2023: 4.1; 2023-2024: 8253.2; 2024-2025: 15113 | 63682.9 | 15.26%
AUTH-109645-02 | WP980295Ta | Rae, Gareth¦Progressive Meats Limited | Expired - S.124 Protection | 2014-07-25 | 2019-05-31 | Water Supply - Industry |  | Animal Processing |  | to take water from well no. 2544 (200 mm diameter) for general use in a meat processing plant | 1 | Karamu | 20 | Consented | 8000 | Consented | 32000 | Estimated | 416000 | Estimated | 246965.6 | 246913.7 | 259682.9 | 290857.9 | 306787.3 | 336726.2 | 287978.3 | 309050 | 323102.6 | 234142 | 259630.1 | 321868.6 | 323625.7 | 336281.2 | 362392.1 | 362392.1 | 87.11%
[19 empty] | 87516733 |  | 20573267.2 | 19758133 | 26952419.8 | 28735912.2 | 36327257.3 | 34579613 | 38697534.2 | 41060775.5 | 41230045.1 | 42581426.9 | 43008318.2 | 40012202.6 | 36285863.8 | 37344295.3 | 28674747.5 | 52306131.6 | 59.77%